A CONSULTATION ON SCOTTISH LANDFILL TAX LOSS ON IGNITION TESTING FOR WASTE FINES

Analysis of Responses

Contents

| Executive Summary | Page 3 |
| --- | --- |
| Question 1: Do you think the Scottish Government should introduce a statutory Loss on Ignition testing regime for fine waste material? | Page 5 |
| Question 2: What are the benefits to the waste and wider resource sector of introducing a statutory Loss on Ignition regime? | Page 6 |
| Question 3: What are the costs to your business of setting up Loss on Ignition testing for waste fines to comply with UK or Revenue Scotland testing regimes? | Page 7 |
| Question 4: What in your opinion is the best method for creating a representative sample? | Page 8 |
| Question 5: At what temperatures should the Loss on Ignition test be conducted at and why? | Page 9 |
| Question 6: What loss threshold is a reasonable measure to categorise residual fine waste material as qualifying material (containing a small amount of contamination)? | Page 10 |
| Question 7: What would be an appropriate frequency for individual waste streams of qualifying fines to be tested? | Page 11 |
| Question 8: Please provide any comments you may have on tax avoidance and evasion relating to the waste fines, Loss on Ignition testing and the lower rate of SLfT. Please include any suggestions for discouraging the artificial blending and shredding of waste for tax purposes. | Page 11 |
| Question 9: Do you believe that the proposed definition of waste fines covers potential qualifying fine materials that arrive at a landfill sites as residue following the mechanical sorting and treatment of waste? | Page 12 |
| Question 10: Are there any viable alternatives to Loss on Ignition testing of residual waste fines when trying to determine if they consist of qualifying material? | Page 12 |
| Question 11: Do you have any further comments on residual waste fines and Loss on Ignition testing not already covered in this consultation? | Page 13 |
| Scottish Government Response | Page 14 |
| Annex A: List of Respondents | Page 15 |
| Annex B: Update to the Business and Regulatory Impact Assessment | Page 16 |

Executive Summary

During the development of Scottish landfill tax (SLfT) legislation, following passage of the Scotland Act 2012 where the Scottish Parliament was granted legislative competence to charge a tax on disposals to landfill made in Scotland, Scottish Ministers have committed to introducing a statutory testing regime for fine waste residues (commonly known as ‘waste fines’) entering landfill sites for the purposes of SLfT. The purpose of the consultation was for the Scottish Government to gather views from landfill operators, waste managers, waste and resource sector companies, local authorities and other interested stakeholders on the introduction of such a statutory testing regime.

The intention of the consultation was to help ensure that waste fines are taxed at the correct rate when landfilled, including understanding the impacts a proposed mandatory testing system will have on the waste management industry,  corresponding waste streams and to identify ways to prevent the potential for tax evasion and avoidance.

The consultation ran from 13 November to 29 December 2015, a stakeholder workshop was held on 8 December at Revenue Scotland’s Devolved Tax Collaborative and officials conducted a site visit.  The Scottish Government received ten written responses to the consultation.  Of these:

- seven were from the waste management and treatment sector;

- one was from local government;

- one was from the Chartered Institute of Taxation; and

- one was from PricewaterhouseCoopers.

Two respondents wished for their identity and answers to remain anonymous.  A list of those who responded can be found in Annex A.

Main Findings from Consultation

- The majority of respondents (nine out of the ten respondents with one unsure response) were supportive of the introduction of a mandatory Loss On Ignition (LOI) testing regime.

- A common theme throughout the responses was that the testing regime would help provide certainty and create a ‘level playing field’.  There was a common understanding that the current system is open to interpretation with the potential for landfill operators, waste carriers and producers seeking to gain a competitive advantage through the liberal application and interpretation of Revenue Scotland guidance.  Respondents from the waste industry such as W H Malcolm, SUEZ (formerly SITA), Levenseat Ltd and the Binn Farm Group were of the opinion that a lack of consistency in how operators applied the lower rate served to drive down market prices due to uncertainty about how the rate is being applied.  An argument was that by placing a testing condition in legislation, providing clear and prescriptive guidance whilst strictly enforcing the regime would help create equity in how waste fines are taxed and drive investment in alternative treatment options further up the waste hierarchy.

- Most respondents who replied to the questions sought parity of the main testing parameters with the testing regime in the rest of the UK, that waste fines should be heated to 440°, the loss of mass measured and only material that loses 10% or less should be eligible for the lower rate of tax. Respondents believed that this would reduce the potential cross border movements of waste and the risk to SLfT revenues.  Four respondents however stated a preference for a loss threshold of 15%, on the basis that 10% may be too difficult to consistently attain.

- Respondents views on the frequency at which waste fines are tested ranged from leaving it to the discretion of the landfill operator to implementing a similar system as the UK, with testing of every 1000 tonnes of material for a low risk and stable waste stream.

- Most respondents to question 9 felt that the introduction of a LOI testing regime would help prevent tax avoidance and provide consistency across the waste treatment sector.  The need for robust guidance and compliance work from Revenue Scotland and SEPA was highlighted, including the policing of Waste Management License exempt sites.

Question 1: Do you think the Scottish Government should introduce a statutory Loss on Ignition testing regime for fine waste material?

Analysis

- Of the 10 respondents, nine believed that a legislative requirement for a LOI testing regime for waste fines should be put in place whilst one respondent was unsure.

- PricewaterhouseCoopers LLP stated, “The introduction of a statutory LOI testing regime would be welcome, as it would provide greater certainty for landfill site operators and their customers regarding the application of the lower rate of Scottish Landfill Tax (SLfT). Revenue Scotland will need to consider carefully how this will be measured for different types of waste, the level of testing required and at what frequency the testing will be required.”

- The Binn Group were one of a number of respondents that highlighted that a statutory testing regime was necessary for creating a level playing field and stopping the mis-classification of waste fines from distorting the market, stating “the current position is open to abuse and is therefore unsustainable. If disposal of waste fines at low rate tax without routine quantifiable scrutiny continues as an accepted “norm” then it removes any pressure from MRF operators to improve the efficiency of their treatment processes and acts as a disincentive to investment in properly structured treatment infrastructure which considers all aspects of the material flows. The ability to pass off waste fines as a low rate tax material provides an opportunity for flows of materials which can gain an easy profitability and therefore can at worst attract criminality or at best significantly distort the market for residual waste collections and treatment. A statutory system will therefore provide clarity and certainty to the sector and will help support consistent regulation and enforcement.”

- It was also suggested that there should be a middle tax band and that waste fines that are above the minimum threshold should be charged the middle rate, depending on the test results.

- Orkney Council believed that the responsibility for testing and classification of waste fines should be borne by the waste producer.

Question 2: What are the benefits to the waste and wider resource sector of introducing a statutory Loss on Ignition regime?

Analysis

- A number of respondents thought that the introduction of a statutory testing regime would help create a level playing field amongst landfill operators and Material Recovery Facilities (MRFs), whilst the additional certainty would allow organisations to invest in infrastructure.  It was noted amongst the majority of respondents that the current regime is being applied and interpreted differently across the waste industry, with some seeking financial gain or to obtain a competitive edge.

- W H Malcolm stated “as with many businesses with a willingness to comply and invest in waste management infrastructure, we need certainty to allow investment to proceed.  By providing a standardised test on a statutory basis allows all operators of facilities to measure their processes and waste streams against the compliance standard.  Industry can then seek out plant and equipment that can recycle or clean-up the waste streams most effectively whilst still offering compliance with the regulations.”

- The Binn Group noted that, “It will ensure that residual waste recycling processes that depend on the use of trommels as a primary stage of residual waste treatment and which enable ensuing materials to be sorted for recycling, and which produce a fines material, are not financially penalised to the extent that such processes become unviable.

- It was noted that introducing statutory LOI testing may lead to higher prices for some waste producers as current evasion is probably acting to depress collection prices. It was also noted that some operators have been reluctant to raise their collection prices due to the fear of unfair competition from operators who may adopt a less responsible approach to their operations. The Binn Group stated “Where collection prices do rise however then this will further support pressure on waste producers to select preferred waste hierarchy solutions.”

- SUEZ stated “….. a simple, clear and detailed testing regime should provide SUEZ and the industry with a level playing field to consistently classify waste fines as either qualifying for the lower rate of tax or not.”

Question 3: What are the costs to your business of setting up Loss on Ignition testing for waste fines to comply with UK or Revenue Scotland testing regimes?

Analysis

- The Scottish Government is aware that any change to landfill tax that introduces a statutory LOI testing regime will have cost impacts on landfill operators and waste producers.  An update to the Scottish Landfill Tax Business and Regulatory Impact Assessment can be found in Annex B.

- Ten respondents answered the question, with most indicating that the cost of testing was likely, in their view, to be marginal or small.  For example, W. H. Malcolm Ltd stated “as we undertake routine testing on both our waste materials and our supplied recovered products, the cost of compliance has been essentially management time in understanding and arranging the new proposed testing regime – the actual costs are a nominal increase on the business, which are far outweighed by the risks of non-compliance as a result of lack of testing or data collection”.  This view was shared by several respondents.

- SUEZ stated that “The current HMRC testing regime is relatively straightforward and was implemented with limited cost to our business. However, the on-going cost of managing the regime has been higher than expected. The individual cost of a HMRC LOI test is not excessive and we pass this and our administration costs back to the producer of the waste.”

- SESA stated that, in their view, the LOI testing regime itself is fairly straightforward and low cost (approximately £40 a sample).

- FCC Environment noted that demand for testing throughout the UK has driven costs up (due mandatory testing of waste fines for tax purposes),  stating “The LOI costs to the waste receiver increased substantially this April once the regime became statute, and the labs saw the opportunity. Average full sample suite costs are now around £30 if the lab is following the HMRC testing "instructions". Previously our average compliance test (inc LOI tetsing) was around £6 each. From March next year our testing costs estimated at £150 - 200k on current UK tonnages, will be passed back to the producer.”

Question 4: What in your opinion is the best method for creating a representative sample?

Analysis

- It is proposed that the LOI testing regime will be primarily focused on individual waste flows.  For the regime to work equitably it is important that the procedure for taking samples does not encourage bias.  Any sample of fines sent for testing should be representative of the whole load relating to a waste flow.  A excerpt from Revenue Scotland guidance on sampling was published in Annex A of the consultation.  Most respondents thought the these arrangements were appropriate.

- W H Malcolm  shared this view stating, “The sampling method outlined in Annex A to the consultation is similar to what we would currently apply and we would agree that this method should be provided within appropriate guidance.”

- Levenseat Ltd also noted that , “the proposed approach in the consultation we would consider appropriate to produce a representative sample.“

- The Binn Group, “The sampling method outlined in Annex A to the consultation is similar to what we would currently apply and we would agree that this method should be provided within appropriate guidance.”

- SESA noted the lack of consultation to Revenue Scotland guidance update however, “the procedures for taking a representative sample as specified in the amended Revenue Scotland guidance (annex A) are nonetheless broadly appropriate.”

Question 5: At what temperatures should the Loss on Ignition test be conducted at and why?

Analysis

- An LOI test determines the organic content of material.  The difference in the mass of the tested material before and after the ignition process is used to calculate the LOI result.  The LOI result will inform whether the waste is liable to be charged at the lower rate of SLfT, but is not the only determining factor.  We propose Revenue Scotland  specify the test in legislative guidance, however key test parameters will be set out in legislation. The majority of respondents were of the view that the ignition temperature should be conducted  440°C.

- SESA believed the minimum temperature for the specified LOI test should be 440 degrees, on the basis that this is currently standard practice.

- SUEZ believed there should be parity between the LOI testing regimes in Scotland and the rest of the UK, and in particular the point at which LOI is determined should be the same to ensure consistency across the whole of the UK.  The present 440 degrees Celsius temperature should be retained as current practice.

- Levenseat Ltd noted that, “Unless there is good reason to change then it would be logical to align with the approach taken by HMRC at 440°C as this is understood by the industry and a number of laboratories are already set up to analyse on this basis. An alternative would likely create confusion and limit the testing options.”

- An alternative was adopting the British Standard test temperature of 550°C. WH Malcolm noted that, “The risk of the combustion process is that it also “burns off” some other non-organic soil components, such as carbonates or sulphates. This is because combustion conditions influence the chemistry and amount of “ash” produced at high temperatures.  Combustion causes an expulsion of all water, hence the 30-50°C and then the 180°C drying stages in advance of the muffle furnace.  At 450°C, however, the loss of carbon dioxide from carbonates and the conversion of metal sulphides into metal oxides, metal sulphates and sulphur oxides (and other chemical reactions which may occur) could affect the LOI results.”

- Binn Group noted that the prescribes test needed to clearer than current Revenue Scotland guidance, particularly in areas such as accounting for moisture loss and the removal material from the sample stating, “the final calculation and accounting for moisture loss /groups 1 and 2 removal etc should be abundantly clear.”

Question 6: What loss threshold is a reasonable measure to categorise residual fine waste material as qualifying material (containing a small amount of contamination)?

Analysis

- The loss threshold is the difference in the mass, measured as a percentage, of the tested material before and after the ignition process.  This is used to calculate the LOI result.  Respondents were evenly split with regards to two loss thresholds, 10% and 15% with four respondents believing 10% and four 15% as being a more appropriate threshold.  One respondent was unsure and one suggested a staggered system of thresholds with different tax rates.

- A recurring argument  amongst respondents for applying a 10% threshold was to ensure consistency with the rest of the UK and reduce the risk of cross border movements of waste for tax avoidance purposes.  For example PricewaterhouseCoopers stated “In our opinion, the Scottish loss threshold should ideally mirror the UK loss threshold to maintain consistency of treatment, and mitigate the risk of potential loss of revenue from cross-border transportation of waste to whichever country has the most favourable regime.”

- Proponents of a 15% threshold argued that a 10% threshold would be too difficult to consistently achieve. The Binn Group stated “A threshold of 15% contamination offers a workable position. Our experience is that on occasions it may be difficult to obtain LoI test outcomes below 10% and therefore variability between batches/samples could lead to on-going problem where materials believed to qualify as low rate subsequently had to be re-classified a higher rate. A threshold of 15% would serve the purpose of closing the door to waste fines derived from incorrect sources.”

- W. H. Malcolm Ltd stated “the 15% threshold is considered acceptable for most genuine waste management facilities that produce a qualifying fine material to be capable of compliance utilising readily available technology. Compliance with <10% will be more problematic given the variability in the feedstock that most C&D (Construction and Demolition) and C&I (Commercial and Industrial) process on a daily basis, especially the seasonality in the soils during the summer garden clearances works when the organic content may be higher than during winter ground works.”

Question 7: What would be an appropriate frequency for individual waste streams of qualifying fines to be tested?

Analysis

- There was a wide range of views on what an appropriate frequency of testing should be, ranging from a test for every 250 tonnes to a test for every 1000 tonnes of waste fines disposed of at the lower rate.  Time-based testing of one test a month per waste stream was also suggested.  Respondents believed that frequency and testing should be backed up by constant visual inspections and waste acceptance checks.

- PricewaterhouseCoopers suggested that “To maintain consistency we would suggest that the frequency of testing mirrors the frequency in the rest of the UK.”

- FCC Environment stated “We believe every 1000 tonnes is sufficient but must be supported by other checks i.e. visual, odour, density etc.”

- Levenseat Ltd noted that “There needs to be clear guidance on testing frequency in place to ensure consistency across the industry, otherwise this will result in very disparity between operators.”

Question 8: Please provide any comments you may have on tax avoidance and evasion relating to the waste fines, Loss on Ignition testing and the lower rate of SLfT. Please include any suggestions for discouraging the artificial blending and shredding of waste for tax purposes.

Analysis

- Respondents highlighted the need for clarity in Revenue Scotland’s guidance in order to help ensure compliance.  PWC stated “We recommend that clear and specific guidance is published to ensure landfill site operators are aware of the conditions that must be met for the lower rate to apply.”

- The Binn Group noted that some mixing should be done legitimately to allow for transportation and storage of fines suggesting that a distinction is made between “mixing” and “dilution”, stating “An adequate testing regime with periodic spot checks on sampling frequency and sampling methodologies should suffice to ensure the system is followed. In terms of mixing to ensure material meet a required LOI threshold this may prove difficult to prevent and it may be useful to be clearer on what you mean by “mixing”. The problem is with “dilution” as a means of lowering the LoI.”

- Levenseat Ltd noted that SEPA will have to be watchful of Waste Management exempt sites allowing the introduction of LOI testing, noting that “the introduction of LOI will naturally discourage artificial blending and shredding as it is highly unlikely the resulting material would meet the threshold.  It will require increased vigilance of exempt sites to avoid illegal disposal as there will be increased incentive for disposal of polluting fines which do not meet the required standard.

Question 9: Do you believe that the proposed definition of waste fines covers potential qualifying fine materials that arrive at a landfill sites as residue following the mechanical sorting and treatment of waste?

Analysis

- In the consultation document it was proposed that "waste fines" be defined as "particles produced by a waste treatment process that involves an element of mechanical treatment". In addition, the load must be categorised as European Waste Catalogue code 19 12 12 on the transfer note (it is already a pre-requisite of the existing Qualifying Materials Order that a load be accompanied by a transfer note).

- Two respondents thought the above definition was appropriate, two disagreed with the definition and six were unsure.

- Respondents highlighted the need for clarity in Revenue Scotland’s guidance in order to help ensure compliance. PWC stated “We recommend that clear and specific guidance is published to ensure landfill site operators are aware of the conditions that must be met for the lower rate to apply.”

Question 10: Are there any viable alternatives to Loss on Ignition testing of residual waste fines when trying to determine if they consist of qualifying material?

Analysis

- As with the many answers to the other questions, most respondents highlighted a need for consistency with the rest of the UK.  The majority of respondents thought that LOI was the most practical and suitable method for establishing the stability and organic content of waste fines.  An alternative suggestion was Waste Acceptance Criteria (WAC) testing. PricewaterhouseCoopers stated that “WAC acceptance criteria is potentially a viable alternative to LOI testing. Whilst WAC testing cannot be used to confirm whether a waste material is hazardous, it can establish how a waste material will behave after it has been buried in a landfill.”

- SUEZ stated that it, “regards the current system (albeit with refinements) as the most practical and cost effective regime. It would also ensure consistency across the UK and prevent potential waste tourism if one system was more beneficial than another to the producer.”

Question 11: Do you have any further comments on residual waste fines and Loss on Ignition testing not already covered in this consultation?

Analysis

- A number respondents made observations on how they thought a statutory testing regime may affect waste infrastructure.  Levenseat Ltd stated “It is important that this legislation does not constrain or inhibit further development of recycling infrastructure and development and therefore should incorporate an element of future - proofing and avoid direct references to current waste management practices. Ultimately the test should be based on the behaviour of a material in a landfill cell rather than where it originated from. This approach would remove the opportunity for further loopholes to be created.”

- Binn Group held a similar view in terms of how a testing regime may impact on waste treatment infrastructure, stating “The current position has led to uncertainty on the future regulation of this activity within Scotland. Many waste management businesses are therefore not well advanced with seeking alternative solutions for dealing with these fines materials or have a clear understanding of whether variability in their collection/processing systems leaves them exposed to regular application of higher landfill tax charges. In our view therefore, whilst introduction of the new statutory testing regime and guidance is a positive step forward, we think an extended transitional period (e.g. 6months-1 year) may be necessary to allow companies to build a clear picture of their own compliance and to take appropriate measures to build suitable investment propositions and make appropriate equipment purchases to address fines management.”

A number of respondents also commented on the lack of consultation from Revenue Scotland when changes to non-statutory loss on ignition requirements were made in its guidance in October 2015.

- Scottish Government Response

The Scottish Government would like to thank all those who took the time and effort to respond to this consultation.  The information obtained will help to form an evidence base from which the Government can put in place a LOI testing regime.

Following the results of the consultation Scottish Ministers intend to lay draft legislation in the Scottish Parliament in early 2016 to put in place a statutory testing regime for waste fines.  The effective date for changes coming in to force will be 1 October 2016 to allow time for landfill operators and the waste industry to prepare.

The main testing parameters will be set in a replacement Qualifying Materials Order so that, in order to qualify as lower rated material, samples have to be heated to a temperature of 440°C for a minimum of 5 hours and the LOI percentage threshold must not exceed 10%.

It is intended that Revenue Scotland, with support from SEPA, will review their prescribed test which details the frequency of testing and sample taking procedures.  The results of this consultation will also be available to Revenue Scotland officials to help in their implementation of a statutory LOI testing regime.

It was noted at the stakeholder workshop that the use of European Waste Catalogue codes on Waste Transfer Notes are not appropriate for defining fines due to the number of potential codes that waste fines could categorised under (and in some instances alongside residual waste and other material).

Waste fines will be defined as: ”fractions of material produced by a waste treatment process that involves an element of mechanical treatment.”

Qualifying fines will be defined as: ”fines that consist entirely of qualifying material or consist entirely of material that, in accordance with a direction contained in guidance published by Revenue Scotland, must be treated as qualifying material if it would be such material but for a small quantity of non-qualifying material”.

The Scottish Government is aware that any change to SLfT that introduces a statutory testing regime will have cost impacts on landfill operators and waste producers.  An update to the Scottish Landfill Tax Business and Regulatory Impact Assessment to accompany changes in legislation will be published in the first quarter of 2016, a draft of which can be found in Annex B.

It is hoped that these measures will help ensure that the lower rate of tax is applied to waste fines consistently and equitably across industry, allowing businesses to compete fairly, helping to secure investment in additional waste treatment technologies and infrastructure, and provide opportunities for waste fines to be treated further up the waste hierarchy.

ANNEX A

List of Respondents

PricewaterhouseCoopers LLP

W. H. Malcolm Ltd

The Binn Group

FCC Environment

Levenseat Ltd

SUEZ (formerly SITA)

The Chartered Institute of Taxation

Scottish Environmental Services Association

W.H. Malcolm Ltd

*Two respondents asked to remain anonymous

Annex B

Update to the Scottish Landfill Tax Business and Regulatory Impact Assessment

Title of Proposal The Scottish Landfill Tax (Qualifying Materials) Order 2016

Purpose and intended effect Background This document is an update to the Final Business and Regulatory Impact Assessment (BRIA) carried out for the Landfill Tax (Scotland) Act 2014, specifically looking at the business impacts resulting from changes relating to the introduction of Loss on Ignition (LOI) testing. The original BRIA contains the complete costing of impacts to Government, local authorities and businesses with the introduction of a Scottish Landfill Tax. An additional update to the BRIA above was published on Wednesday 17 December 2014, which looked at impacts of secondary legislation including the setting of , The Scottish Landfill Tax (Qualifying Material) Order 2015 which the above order will replace. Additional information can also be found in two research papers carried out by Eunomia Research on behalf of the Scottish Government. The first is a paper is called, ‘Landfill Tax An Economic Assessment’ The second is a research paper to support landfill tax policy entitled, ‘Understanding the Policy Options for Implementing a Scottish Specific Landfill Tax’. http://www.zerowastescotland.org.uk/ScottishSpecificLandfillTax. The Scottish Government intends for The Scottish Landfill Tax (Qualifying Materials) Order 2016 to replace The Scottish Landfill Tax (Qualifying Materials) Order 2015 to include LOI testing of small waste particles/fines produced as a result of mechanical waste treatment processes. The introduction of a testing regime for fine waste residues produced through waste treatment processes (often referred to as ‘waste fines’) is the final provision in the tax’s legislative implementation. A decision was made by Scottish Ministers to delay the introduction of mandatory testing to allow businesses to set up contracts, make changes to waste treatment lines and procure testing equipment. An LOI test is a test where material is heated to a prescribed temperature for a set amount of time and the loss in mass is calculated. An LOI test determines the organic content of material. The difference in the mass of the tested material before and after the ignition process is used to calculate the LOI result, this is known as the ‘loss threshold’. The LOI result will inform how stable the material is in the landfill environment and whether the waste disposed of is liable at the lower rate of SLfT. The test will not be the only determining factor, in accordance with Revenue Scotland Guidance visual inspections and WM3 waste acceptance checks will also be required to ensure that the material disposed of consists of qualifying material (as listed in the schedule of the Order). A prescribed test will be published in Revenue Scotland legislative guidance which will meet the test parameters as set out in the Order. Objective The replacement Order is to intended to introduce a testing regime for waste fines produced through waste treatment processes, to help ensure that the lower rate of SLfT is applied consistently and equitably across industry. This document is intended as a supplement to the original Business and Regulatory Impact Assessment, specifically looking at the testing of waste fines for tax purposes. Rationale for Government intervention The Scottish Government is introducing a testing regime following engagement with industry stakeholders. The UK Government legislated and introduced an LOI testing regime for waste fines which took effect on the 1 April 2015. Respondents to “Scottish Landfill Tax - A Consultation on Subordinate Legislation” requested that the Scottish Government introduce a similar testing condition to help businesses apply the lower rate of tax equitably across industry. As a result of this feedback Scottish Ministers confirmed they would introduce a statutory testing regime and published a second consultation specifically looking at the potential business and waste sector impact: https://consult.scotland.gov.uk/fiscal-responsibility/landfill-tax-loss-on-ignition-testing. The establishment of a testing regime and ensuring that the lower tax rate is correctly and equitably applied will help Scotland to continue to benefit from the important role that landfill tax has played in driving waste away from landfill and in creating the stable policy landscape needed to underpin long-term investment decisions on infrastructure and collection systems. In doing so, the proposals will contribute to the National Outcome on valuing and enjoying our built and natural environment and protecting it and enhancing it for future generations.

Consultation Within Government Preparatory work for the consultation paper and drafting of the Order involved discussions across a wide range of Government interests including: Fiscal Responsibility Division Environmental Quality Division Revenue Scotland Scottish Environment Protection Agency (SEPA) Scottish Government Legal Directorate Her Majesty’s Revenue and Customs (HMRC) (UK Government) Her Majesty’s Treasury (UK Government) Public Consultation Workshop The Scottish Government held a stakeholder workshop at the Revenue Scotland Devolved Tax Collaborative on 8 December 2015. Delegates expressed concern in relation to the timetable for introducing the mandatory LOI regime. Delegates stated that should changes were to come into force on the 1 April 2016 then that this would not give landfill operators enough time to prepare and make appropriate investment in order to comply with the new regime. Concerns around the timing of a mandatory testing regime included: Time for planning Leaving appropriate time for setting up testing contracts with laboratories The time window for procuring testing equipment Making technical changes to waste treatment lines Securing funding from boards/executive management teams Leaving enough time for waste producers to also required time to look at their processes In response to these concerns Scottish Ministers have set 1 October 2016 as the effective date for the new Order. Written Consultation The consultation ran from 13 November to 29 December 2015. The Scottish Government received ten written responses to the consultation. Of these: Seven were from the waste management and treatment sector (W H Malcolm Ltd; The Binn Group; FCC Environment; Levenseat Ltd; SUEZ; and Scottish Environmental Services Association); One was from Scottish local government; One was from the Chartered Institute of Taxation; and One was from PricewaterhouseCoopers. Two respondents wished for their identity and answers to remain anonymous. The majority of respondents (nine out of the ten respondents with one unsure response) were supportive of the introduction of a mandatory LOI testing regime. The majority of respondents were of the view that the introduction of a testing regime would help provide certainty and create a ‘level playing field’. There was a feeling that the current system is open to interpretation with the potential for landfill operators, waste carriers and producers seeking to seek to gain a competitive advantage by interpreting the guidance in a liberal way. Respondents from the waste industry such as W H Malcolm, SUEZ (formerly SITA), Levenseat Ltd, Binn Farm Group and the Scottish Environmental Services Association shared opinions that the current arrangements serves to drive down market prices due to uncertainty about how the rate is being applied across industry. Respondents stated that by placing a testing regime on a statutory footing, providing clear and prescriptive guidance whilst strictly enforcing the regime would help ensure that the lower rate was applied equitably across landfill sites and help drive investment in alternative treatment options further up the waste hierarchy. A full analysis of the consultation is available on the Scottish Government Citizenspace website. Business Officials from Scottish Government, SEPA and Revenue Scotland visited the Binn Group at Binn Farm on 7 January (a materials recovery plant) in Glenfarg, Perthshire to look at waste treatment lines and the production of waste fines, and to discuss treatment options for waste fines and the impacts of introducing LOI testing for tax purposes. Officials have also had discussions on LOI testing with the Scottish Environmental Services Association.

Options The options Minsters considered where: Option 1 - to maintain the status quo and “do nothing” leaving, ‘The Scottish Landfill Tax (Standard Rate and Lower Rate) Order 2015’ in place; or Option 2 - lay a replacement order to introduce LOI testing for waste fines. Sectors and groups affected The change to the Order (Option 2) will affect operators of mechanical treatment plants and other producers of fines as well as landfill operators upon whom the tax liability falls, and any other customers upon whom additional cost or changes in tax liability may be passed. There are currently around 35 registered landfill site operators in Scotland and approximately a similar number of sizable material recovery facilities. Since the test will apply at the point the waste is disposed of to landfill the main additional administrative burdens will be on operators of landfill sites, however evidence from the consultation exercise suggests all these costs will be passed on to landfill operator customers/waste producers. Benefits Option 1 – Do Nothing Approach As Revenue Scotland already have requirements for the testing of waste fines in place it is unlikely that the waste industry would benefit financially from there being not being a requirement in statute. The waste management industry could benefit from reduced management time that would be required for organisations to familiarise themselves with the new rules, the negation of potential IT changes and staff training that may be required as a result of changes to guidance that could be required following the establishment of a statutory testing regime. Option 2 – Introduce Loss on Ignition Testing for Waste Fines Benefits associated with the introduction of a statutory requirement for the testing of waste fines include: helping to provide certainty to industry on how the lower rate should be applied to waste fines; that it will ensure that the lower rate was applied equitably across all landfill sites; that it will help drive investment in alternative treatment options further up the waste hierarchy; that an evidence based and scientifically prescribed test will reduce tax avoidance and evasion. Costs Option 1 – Do Nothing Approach Evidence from the consultation would suggest that the option of maintaining current arrangements would help maintain uncertainty in how the lower rate of tax was being applied across industry which could continue to drive down costs as certain landfill operators sought to gain a competitive advantage by applying a ‘liberal’ interpretation to current guidance. This in turn would serve to reduce investment in alternative treatment processes and technologies and impede progress in trying to move the treatment of waste fines up the waste hierarchy. Option 2 – Introduce Loss on Ignition Testing Tonnage of Waste Fines in Scotland SEPA have tried to establish the amount of waste fines that are disposed of in landfill in Scotland using Waste Data Flow returns. Inconsistency in in the application of European Waste Codes (EWC) and the fact that waste fines could be categorised by a number of EWC codes alongside other types of material (such as residual waste) means that direct and accurate data on the quantity fines deposited in landfill cannot be obtained. An approximate quantity of waste fines deposited at landfill sites however may be obtained through more qualitative analysis of individual returns. Table 1 outlines the number of sites that used the word “fines” to describe their waste going to landfill in quarter two of 2015/16. However the actual amount of fines is likely to be higher as there is no pre-requisite for them to identify their waste as ‘waste fines’. Table 1 Sites that used the word “Fines” to describe their waste going to Landfill 19,634.52 T Lower Rate 753.45 T Standard Rate 833.82 T Exempt 21,221.79 T TOTAL Table 2 shows the amount of material that is disposed of to landfill under the European waste code 19 12 12 in quarter two of 2015/16. This is waste produced through mechanical treatment that does not consist of wood, metals, glass, paper textiles and other material that would be liable to the standard rate of landfill tax. Table 2 Wastes disposed of at 19 12 12 (which could be fines or a mix of fines and residual landfill waste) 51,058.06 T Lower Rate 107,818.42 T Standard Rate 23,325.9 T Exempt 182,202.38 T TOTAL The figures in table 2 however will also include non-waste fine residual waste alongside waste fines. The Scottish Government therefore estimates that the quantity of waste fines eligible at the lower rate of Scottish Landfill tax, and likely to be tested, is between 19,634 tonnes to 51,058 tonnes at around 36,000 tonnes a quarter or 144,000 tonnes a year. Definition of EWC: 19 12 12 Frequency of Testing A determining factor that will affect costs of implementing a statutory testing for businesses is the frequency at which landfill operators and waste producers will have to test waste streams. Revenue Scotland will prescribe this in guidance and the Scottish Government are aware that they are currently reviewing this with support from SEPA. If Revenue Scotland follows a similar approach to the UK, the frequency of testing would be variable depending on how unstable a waste stream is. For example if it is a particular type of waste that consistently produces fines that produce a result far beneath the threshold, then the tests would be much less frequent in comparison to a waste stream of fines that produce inconsistent LOI results. Practically this would mean prescribing a frequency of testing table that dictated testing one load for every 1000 tonnes or every six months for a low risk stream, one load for every 500 tonnes or every three months for a medium risk stream and every load for a high risk waste stream. The Scottish Government approximates that of the waste fines eligible at the lower rate testing in the first year would average out at between around one test every 250 tonnes and one test 500 tonnes across industry. Testing Costs Evidence from industry during the recent consultation suggests that costs of LOI testing per sample have been increasing as demand has increased and now stands at around £30 to £40 a sample. The Scottish Government therefore estimates that the cost of testing across industry will be approximately between £11,520 and £23,000 in the first year. There are a number of potential costs in addition to actual testing that have been identified that the Scottish Government will not be able to quantify, these include one-off costs and continuing costs outlined below. One-off costs may include: time needed by management to familiarise themselves with the new rules; potential need for IT system changes; new LOI sampling training for site staff. Continuing costs may include: sampling – any changes to current processes for selecting a representative sample will be specified in legislative guidance by Revenue Scotland sending samples to laboratories storing samples in case they need to be reviewed, including by Revenue Scotland; maintaining a log of test results; reporting the results of failed tests to Revenue Scotland.

Competition Assessment The Scottish Government, following evidence obtained through the consultation exercise, understands that the introduction of LOI testing will have a positive impact on competition at the lower end of the waste hierarchy by reducing tax avoidance and evasion and help ensure the lower rate of Scottish Landfill tax is applied equitably across industry. The introduction of LOI testing will not directly or indirectly limit the number or range of suppliers of waste treatment and disposal services. The measure should provide landfill operators, and waste treatment suppliers with the ability of to compete fairly based on levels of service and cost. The measure will not limit the choices and information available to businesses. In December 2015, stakeholders identified the creation of a ‘level playing field’ as a key benefit of introducing the LOI testing regime in Scotland. This suggests that there is currently a distortion in free competition between waste operators in Scotland and RUK as a result of LOI not applying to all operators. This distortion will be removed by the proposal to introduce it in Scotland. Implementation will be under the jurisdiction of Revenue Scotland who may require additional information from landfill operators potentially including new forms and procedures.

Legal Aid Impact Test None of the proposals in this order are likely to give rise to increased use of legal processes or create new rights or responsibilities or have possible impacts on the legal aid fund.

Enforcement, sanctions and monitoring The collection and management of LBTT will be undertaken by Revenue Scotland, using the powers set out in the,‘Revenue Scotland and Tax Powers Act 2014’ (RSTPA). The RSTPA sets out the tax management system that will underpin devolved taxes in Scotland. It sets out the powers and duties of taxpayers and Revenue Scotland and outlines the investigatory powers of Revenue Scotland. The RSTPA also sets out the process for issuing penalties in respect of non-compliant behaviour and contains provisions for debt enforcement. The RSTPA also provides for the establishment of the Scottish Tax Tribunals to hear appeals against devolved taxes, which will ultimately become part of the unified Scottish Tribunals from 2017 and sets out the reviews and appeals process.

Implementation and delivery plan The collection of the SLfT lower rate, including the implementing a LOI scheme , will be undertaken by Revenue Scotland. Under powers for the delegation of Revenue Scotland’s functions as set out in the RSTPA, SEPA will assist Revenue Scotland as delegated by them.

Summary and recommendation The Scottish Government recommends that Loss on Ignition testing is introduced, alongside other measures already present in Revenue Scotland Guidance, in helping determine the organic content and stability of waste fines and the corresponding correct rate of tax. Summary costs and benefits table Option Total benefit per annum: - economic, environmental, social Total cost per annum: - economic, environmental, social - policy and administrative 1 – Do Nothing None None 2 – Introduce LOI Testing Introduction of a testing regime will help provide certainty and create a competitive ‘level playing field’ through ensuring the lower rate of tax is applied consistently and equitable across industry Costs of testing to industry will be between £11,520 and £23,000 in the first year.

Scottish Government Financial Strategy Fiscal Responsibility Division Scottish Government Contact point: David.Kerrouchi@gov.scot

# Footnotes

http://www.gov.scot/Publications/2013/06/8957/1

http://www.gov.scot/Publications/2014/12/6274/5.

http://www.zerowastescotland.org.uk/LandfillTaxEconomicAssessment

https://www.revenue.scot/scottish-landfill-tax/guidance/slft-legislation-guidance

https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/427077/LIT_10121.pdf

http://www.gov.scot/Publications/2014/08/3162

https://consult.scotland.gov.uk/fiscal-responsibility/landfill-tax-loss-on-ignition-testing

https://www.sepa.org.uk/media/139107/euro_waste_catalogue.pdf

https://consult.scotland.gov.uk/fiscal-responsibility/landfill-tax-loss-on-ignition-testing

# Text boxes

European Waste Catalogue Code 19 12 12: wastes from the mechanical treatment of waste (for example sorting, crushing, compacting, pelletising) not otherwise specified:  other wastes (including mixtures of materials) from mechanical treatment of wastes other than those mentioned in 19 12 11.